## Slide 1
Healthcare AI Safety & Governance
Safety-by-Design in
Healthcare AI Products
Why safe healthcare AI must be built into the product,
not added after deployment
Author: Dr. Marija Tepegjozova

## Slide 2
The Safety Gap
A good model can still create an unsafe product
What teams optimize
Accuracy metrics
Benchmark performance scores
Speed & efficiency
Response time optimization
User adoption
Engagement and retention
What safety depends on
Intended-use boundaries
Clear scope definition
Human review & override
Clinician oversight mechanisms
Bias monitoring
Subgroup performance validation
Escalation & auditability
Fail-safe pathways & logging
Key insight: Accuracy alone is not enough. The gap between model performance and product safety is where patient harm occurs.
Model
Product
Workflow
Clinicians
Patient

## Slide 3
Case Study
Why healthcare AI needs safety boundaries
ChatGPT Health — Nature Medicine stress test findings
Study Design
60
Clinician-authored vignettes
21
Clinical domains covered
960
Total test interactions
Critical Finding
52% of gold-standard emergency cases were under-triaged — patients with diabetic ketoacidosis and impending respiratory failure were directed to 24-48 hour evaluation instead of the ER.
Main Lesson
Average performance is not enough in high-stakes settings. Edge cases and safety controls matter.
Performance Follows an Inverted U-Shape
35%
Non-urgent over-triage
Strong
Middle cases
52%
Emergency under-triage

## Slide 4
Framework
A practical Safety-by-Design framework
S
Scope
Scope the use case
Define clear boundaries and intended use. Document what the system is designed to do and explicitly what it should not do.
Clear boundaries
A
Add
Add human control
Build in oversight and override mechanisms. Ensure clinicians can intervene, correct, and take control when needed.
Human oversight
F
Find
Find bias & failures
Proactively test edge cases and subgroups. Identify failure modes before deployment, not after harm occurs.
Edge case testing
E
Enable
Enable traceability
Audit trails and post-deployment surveillance. Monitor performance in real-world use and maintain accountability.
Continuous monitoring
The SAFE framework: Design for the edges, not just the average case

## Slide 5
Implementation
What safe healthcare AI products should include
Clear intended-use statement
Explicit scope and limitations
Decision support, not autonomous diagnosis
AI assists clinicians, never replaces judgment
Uncertainty triggers & escalation paths
Automatic handoff when confidence is low
Human override mechanisms
Clinicians can always take control
Subgroup bias validation
Tested across demographics and edge cases
Privacy-first architecture
Data protection by design
Comprehensive audit trails
Every decision logged and traceable
Post-deployment monitoring
Continuous surveillance after launch
Final Takeaway
Safe healthcare AI is designed to fail safely, escalate appropriately, and remain accountable after launch.
Pre-build
Design
Deploy
Monitor